PROPOSED REGULATION ORDER

Note: Strikeout indicates deleted text; underline indicates inserted text.

Amend Title 17, California Code of Regulations, section 94011 to read:

§ 94011.	Certification of Vapor Recovery Systems of Dispensing Facilities.

The certification of gasoline vapor recovery systems at dispensing facilities (service stations) shall be accomplished in accordance with the Air Resources Board’s CP-201, “Certification Procedure for Vapor Recovery Systems at Gasoline Dispensing Facilities” which is herein incorporated by reference.  (Adopted: December 9, 1975, as last amended October 8, 2003 [date of amendment to be inserted].

The following test procedures (TP) cited in CP-201 are also incorporated by reference.

TP-201.1 – “Volumetric Efficiency for Phase I Systems”  (Adopted:

April 12, 1996, as last amended February 1, 2001)

TP-201.1A – “Emission Factor For Phase I Systems at Dispensing Facilities” (Adopted: April 12, 1996, as last amended February 1, 2001)

TP-201.1B – “Static Torque of Rotatable Phase I Adaptors” (Adopted: July 3, 2002)

TP-201.1C – “Pressure Integrity of Drop Tube/Drain Valve Assembly” (Adopted: July 3, 2002)

TP-201.1D – “Pressure Integrity of Drop Tube Overfill Prevention Devices” (Adopted: February 1, 2001, as last amended July 3, 2002)

TP-201.2 – “Efficiency and Emission Factor for Phase II Systems”  (Adopted:  April 12, 1996, as last amended July 25, 2001)

TP-201.2A – “Determination of Vehicle Matrix for Phase II Systems” (Adopted:  April 12, 1996, as amended February 1, 2001)

TP-201.2B – “Pressure Integrity of Vapor Recovery Equipment” (Adopted: April 12, 1996, as last amended February 1, 2001)

TP-201.2C – “Spillage from Phase II Systems”  (Adopted: April 12, 1996, as last amended February 1, 2001)

TP-201.2D – “Post-Fueling Drips from Nozzle Spouts” (Adopted:

February 1, 2001)

TP-201.2E – “Gasoline Liquid Retention in Nozzles and Hoses” (Adopted: February 1, 2001)

TP-201.2F – “Pressure-Related Fugitive Emissions” (Adopted: February 1, 2001)

TP-201.2H – “Determination of Hazardous Air Pollutants from Vapor Recovery Processors” (Adopted:  February 1, 2001)

TP-201.3 – “Determination of 2 Inch WC Static Pressure Performance of Vapor Recovery Systems of Dispensing Facilities”  (Adopted:

April 12, 1996, as last amended March 17, 1999)

TP-201.3A – “Determination of 5 Inch WC Static Pressure Performance of Vapor Recovery Systems of Dispensing Facilities” (Adopted:

April 12, 1996)

TP-201.3B - "Determination of Static Pressure Performance of Vapor Recovery Systems of Dispensing Facilities with Above-Ground Storage Tanks" (Adopted: April 12, 1996)

TP-201.3C – “Determination of Vapor Piping Connections to Underground Gasoline Storage Tanks (Tie-Tank Test)” (Adopted: March 17, 1999)

TP-201.4 – “Dynamic Back Pressure”  (Adopted: April 12, 1996, as last amended July 3, 2002)

TP-201.5 – “Air to Liquid Volume Ratio”  (Adopted: April 12, 1996, as last amended February 1, 2001)

TP-201.6 – “Determination of Liquid Removal of Phase II Vapor Recovery Systems of Dispensing Facilities”  (Adopted: April 12, 1996, as last amended April 28, 2000)

TP-201.6C – "Compliance Determination of Liquid Removal Rate"  (Adopted: July 3, 2002)

NOTE: Authority cited: sections 39600, 39601, 39607, and 41954, Health and Safety Code.  Reference: sections 39515, 41954, 41956.1, 41959, 41960 and 41960.2, Health and Safety Code.